## Slide 1: Pulse Monitor
PHYS 319 Shiori Kuboki

## Slide 2: Brief description
Monitors pulse by monitoring the amount of infrared light that passes through your finger
When a ‘pump’ of blood passes through your finger, it creates a brief moment of opacity, which it monitors
The light is sensed using a phototransistor
It’s like those ones that you see beeping in Surgical shows!

## Slide 3: Infrared LED & Phototransistor

## Slide 4: Infrared LED & Phototransistor
Vcc
Phototransistor
Resistors
GND

## Slide 5: Infrared LED & Phototransistor
HSDL4220 LED
MSP430
Resistor
GND

## Slide 6: Infrared LED & Phototransistor

## Slide 7: AMPLIFIER
The voltage from the LED and the phototransistor were very weak (the amount of light that blood flow blocks is very little)
So, remove unneeded noise and amplify the data using Op-Amps

## Slide 8: AMPLIFIER

## Slide 9: AMPLIFIER

## Slide 10: AMPLIFIER

## Slide 11: AMPLIFIER

## Slide 12: Comparator
The output after the amplifier is now clean, but it is in a waveform, so it is difficult to send information to the MSP430 in this way
So, use a comparator to change this waveform into a square wave
The comparator voltage can be adjusted using the variable resistor

## Slide 13: Comparator

## Slide 14: Comparator

## Slide 15: Comparator

## Slide 16: Comparator

## Slide 17: Circuit

## Slide 18: 7 Segment LED & External LED
Added 7-segment display to show heart rate, and an external LED that blink every time your heart beats

## Slide 19: CODE

## Slide 20: CODE
1 beat X beats
￣￣￣￣ = ￣￣￣￣
Y μsec. 1 min.
X = 1/Y * 60*1000000

## Slide 21: Code

## Slide 22: Code

## Slide 23: What was difficult
What was the most difficult was setting up the interrupt flags for overflows
At first, I didn’t even figure out why my pulse rate was so high (and wrong), which turned out to be because there were overflows in TAR
The implementation of counting the overflows were also difficult, since I had difficulty trying to figure out where to put my ‘IFCount++;’ inside my code
Another difficulty was debugging the code
For some reason, CCStudio does not let us put breakpoints at certain places in code
Also, the printf function is too big for the CCStudio thus it does not support it, which made debugging even more difficult

## Slide 24: What was easy
What was easy is connecting the MSP430 to the 7-segment display
We had done a lab before using the 7-segment display, and I have also encountered it multiple times previously, so it was easy to implement
To be able to see waveforms and voltages on the oscilloscope was also very helpful for many parts of the lab

## Slide 25: What I could do better
My 7-segment display goes back to the value 0 every other time, and I could not figure the reason out by today
It would’ve been really cool if I could’ve used a beeper to make it beep when the pulse is below some rate, but because of this, it would not have worked
Wanted to base the heart rate calculation using the past 2 measurements, but it did not work out very well, so I had to use just the current measurement
If I had time, I would’ve also liked to plot things on Python

## Slide 26: END
Thanks for listening!